## pipeline_accident_reports
| Text | accident_no | component_affected | damage_clean_up_cost | date | date_and_time | failure_type | Death | Injury | injuries | location | material_released | owner_operator | pipeline_accident_no | pipeline_pressure | pressure | product_released | Loss Estimated ($) | quantity_released | system_type | time | type_of_accident | type_of_failure | type_of_system | Link
0 |  | DCA-99-MP-004 | ¾-inch steel gas service line |  |  | January 22, 1999, 10:02 a.m. CST |  | 3 |  | 6 | Alabama | Natural gas | Utilities Board of the City of Bridgeport |  |  | 35 psig |  | $1.4 million |  |  |  | Rupture, explosion, and fire | Excavation damage | Natural gas service line | https://www.ntsb.gov/investigations/AccidentReports/Pages/pipeline.aspx
1 | On the afternoon of February 9, 1999, Colonial Pipeline Company (Colonial)successfully completed a delivery of diesel fuel to the East Knoxville delivery facility(East Knoxville) in Knoxville, Tennessee, using its Atlanta Junction/Knoxville stubline.1To initiate the delivery, an operator at Colonial\xe2\x80\x99s Knoxville Terminal began operatingvalves that directed product into a 10inchdiameter steel pipeline leading to the EastKnoxville facility, about 8 miles away. At about the same time, a valve was opened at theother end of that line to allow the product to flow into the East Knoxville facility tanks. Atthe completion of the delivery, the valves were closed, which left the pipeline filled withdiesel fuel at a pressure of about 91 psig. | DCA99-MP005 | 10-inch-diameter, Grade 5L X-42, 0.250-inch wall |  | February 9, 1999 |  |  |  | None |  | Tennessee |  | Colonial Pipeline Company |  | Approximately 91 psig |  | Diesel fuel, high sulfur, 86 Grade | $7 million | About 53,550 gallons (1,275 barrels) |  | 11:58 p.m. EST | Pipe rupture |  | Hazardous liquid petroleum products pipeline | https://www.ntsb.gov/investigations/AccidentReports/Pages/pipeline.aspx
2 | About 12:12 p.m. CST1 on January 27, 2000, a Marathon Ashland Pipe Line LLC (Marathon Ashland) 24inchdiameter pipeline that runs 265 miles between Owensboro and Catlettsburg, Kentucky, ruptured near Winchester, Kentucky. The ruptured pipeline released about 11,644 barrels (about 489,000 gallons) of crude oil onto a golf course and into Twomile Creek. No injuries or deaths resulted from the accident. As of December 13, 2000, Marathon Ashland had spent about $7.1 million in response to the accident. |  | 606 pounds per square inch, gauge, (psig) | None |  | January 27, 2000, 12:12 p.m. central standard |  |  | Marathon Ashland Pipe Line LLC |  | Kentucky | $7.1 million | time (CST) | DCA-00-MP-004 | About 489,000 gallons |  |  |  | Crude oil |  |  | Pipe failure and leak |  | Hazardous liquid | https://www.ntsb.gov/investigations/AccidentReports/Pages/pipeline.aspx
3 | On March 9, 2000, about 10:20 p.m., central standard time,1 a 28inchdiameter pipeline owned and operated by Explorer Pipeline Company (Explorer) ruptured and released 13,436 barrels (about 564,000 gallons) of gasoline. The pipeline was buried about 4 feet 6 inches under ranch land. The release site was near Greenville, Texas, about 45 miles northeast of Dallas. |  | at site of failure | $18 million |  | March 9, 2000, at 10:20 p.m., central standard time |  |  | None |  | Texas | Gasoline | Explorer Pipeline Company | DCA-00-MP-005 | 705 pounds per square inch, gauge, (psig) |  |  |  | Approximately 564,000 gallons |  |  | Pipe failure and leak |  | Hazardous liquid | https://www.ntsb.gov/investigations/AccidentReports/Pages/pipeline.aspx
4 | On July 2, 2003, a contractor hired by the city of Wilmington, Delaware, to replace sidewalk and curbing dug into an unmarked natural gas service line with a backhoe. (See figure 1.) Although the service line did not leak where it was struck, the contact resulted in a break in the line inside the basement of 1816 West 3rd Street, where gas began to accumulate. A manager for the contractor said that he did not smell gas and therefore did not believe there was imminent danger and that he called an employee of the gas company and left a voice mail message. At approximately 1:44 p.m., an explosion destroyed two residences and damaged two others to the extent that they had to be demolished. Other nearby residences sustained some damage, and the residents on the block were displaced from their homes for about a week. Three contractor employees sustained serious injuries. Eleven additional people sustained minor injuries. | DCA-03-MP-004 | Excavation damage |  |  | July 2, 2003, at 1:44 p.m., eastern daylight time |  | business as Conectiv Power Delivery |  | None | Delaware | $300,000 | Delmarva Power and Light Company doing |  |  | Natural gas |  | 14 |  |  |  | Rupture, explosion, and fire | 6 to 8 inches water column | Natural gas distribution | https://www.ntsb.gov/investigations/AccidentReports/Pages/pipeline.aspx
5 | On August 21, 2004, about 8:54 a.m., a natural gas explosion destroyed a residence located at 48 Woodland Lane in DuBois, Pennsylvania. The two residents were killed in this accident. (See figure 1.) Postaccident Investigation National Fuel Gas Distribution Corporation (National Fuel) probed the ground near the residence for gas leaks. Combustible gastoair readings were found in two areas: one area was adjacent to the affected residence, and the other area was directly over the failed pipe on the front lawn. After the explosion, National Fuel excavated the front lawn. The excavation revealed a leaking buttfusion joint in a 2inchdiameter plastic main line pipe. (See figure 2.) A buttfusion joint is made by the following process. A heater plate is inserted between two pipe ends, melting the material on each end. The heater is then removed, and the pipe ends are pushed together under applied force. The pipe ends remain under applied force as the pipe ends cool and fuse together. The buttfusion process forces excess molten plastic onto the inside and outside of the pipe surfaces. Because both sides of the pipe are molten, two visible beads are formed on the exterior and interior of the pipe joint. (See figure 3.) When this material cools and solidifies, it is called a fusion bead. 1 All times in this brief are eastern daylight time. | DCA-04-MP-006 | 2-inch plastic main line |  | August 21, 2004 |  | Butt-fusion joint leak | 2 |  | None | Pennsylvania | Natural gas | National Fuel Gas Distribution Corporation |  |  | 50 pounds per square inch, gauge |  | $800,000 |  | Natural gas distribution | About 8:54 a.m. eastern daylight time1 | Leak, explosion, and fire |  |  | https://www.ntsb.gov/investigations/AccidentReports/Pages/pipeline.aspx
6 | On December 13, 2005, at 9:26 a.m., an apartment building exploded in Bergenfield, New Jersey, after natural gas migrated into the building from a damaged pipeline. Investigators found a break in an underground 1 1/4inch steel natural gas distribution service line that was operating at 11 1/2 pounds per square inch, gauge. The break occurred at an underground threaded tee connection downstream from where excavators were removing an oil tank that was buried under the asphalt parking lot adjacent to the building. The break occurred, under the parking lot, about 7 feet 4 inches from the building\xe2\x80\x99s wall. Three residents of the apartment building were killed. Four residents and a tank removal worker were injured and transported to hospitals. The property damage consisted of the apartment building, which was a complete loss. (See figure 1.) According to Bergen County tax records, the assessed value of the apartment building was $863,300. | DCA-06-MP-001 | 1 1/4-inch steel service line |  | December 13, 2005 |  |  | 3 |  | 5 | NewJersey | Natural gas | Public Service Electric and Gas Company |  | 11 1/2 pounds per square inch, gauge |  |  | $863,300 |  |  | 9:26 a.m. eastern standard time1 | Pipeline break, explosion, and fire |  | Natural gas distribution | https://www.ntsb.gov/investigations/AccidentReports/Pages/pipeline.aspx